## Sheet1
system | subsystem | item | item num. | quantity | unitCost | totalCost | potentialSource | link
Robot arm
|  | xarm 6 with direct drive linear motor |  | 1 | 10999 | 10999 | uFactory | https://www.ufactory.cc/product-page/ufactory-xarm-6-with-direct-drive-linear-motor/
Dosing system
Syringe pump
|  | kloehn pump (V6 48 K) |  | 1 | 835.04 | 835.04 | Norgren | https://www.norgren.com/us/en/detail/55022
|  | kloehn 23428 adapter card |  | 1 | 67.93 | 67.93 | Norgren
|  | rotary valve (6-way distribution) |  | 1 | 256.06 | 256.06 | Norgren | https://www.norgren.com/us/en/detail/18193
|  | syringe (5 mL) |  | 1 | 157.8 | 157.8 | Norgren | https://www.norgren.com/us/en/detail/17599
Pump housing
|  | 3D printed housing (Nylon 12 powder)* |  | 1 | 74 | 74 | Formlabs
|  | switch (on/off) |  | 1 | 4.95 | 4.95 | Adafruit | https://www.adafruit.com/product/482
|  | panel mount dc barrel jack (2.1 mm) |  | 1 | 2.95 | 2.95 | Adafruit | https://www.adafruit.com/product/610
|  | waterproof connector plug and sucket (sp13, 5 pin) |  | 1 | 7.89 | 7.89 | Amazon
|  | waterproof connector plug and sucket (sp13, 3 pin) |  | 1 | 7.69 | 7.69 | Amazon
|  | computer fan (24 v) |  | 1 | 11.88 | 11.88 | Mouser | https://www.mouser.com/ProductDetail/CUI-Devices/CFM-8015BF-240-363-22?qs=tlsG%2FOw5FFjdeCrhxD8Q1Q%3D%3D
|  | brushless peristaltic pump (A201BX-300) |  | 2 | 140 | 280 | Anko | https://ankoproducts.com/collections/a200-series-pumps-and-related/products/anko-a201bx-oem-peristaltic-pump?variant=33031285768227
|  | brushless motor controller |  | 2 | 100 | 200 | Anko | https://ankoproducts.com/collections/parts-accessories/products/oem-brushless-controller
|  | power supply (24v, 2.5a) |  | 1 | 22.04 | 22.04 | Digikey | https://www.digikey.com/en/products/detail/mean-well-usa-inc./GST60A24-P1J/7703715?utm_adgroup=AC%20DC%20Desktop%2C%20Wall%20Adapters&utm_source=google&utm_medium=cpc&utm_campaign=Shopping_Product_Power%20Supplies%20-%20External%2FInternal%20%28Off-Board%29_NEW&utm_term=&utm_content=AC%20DC%20Desktop%2C%20Wall%20Adapters&gclid=CjwKCAjw7p6aBhBiEiwA83fGunl0lZRjNyxvEeKW3oAStuw8jrk7UBEWElJXSsSbHVf5VIbE951K-BoCyGwQAvD_BwE
|  | power cord |  | 1 | 7.12 | 7.12 | Digikey | https://www.digikey.com/en/products/detail/mean-well-usa-inc/YP12-YC12/7707223
|  | threaded insert (6-32, 1/4 in, brass) |  | 16 | 0.28 | 4.48 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3724/92395A113
|  | standoff (4-40, 1/2 in, aluminum) |  | 8 | 0.4 | 3.2 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3675/91780A164
|  | phillips pan head screw (4-40, 1/4 in, stainless) |  | 16 | 0.05 | 0.8 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3390/91772A106
|  | phillips pan head screw (6-32, 1/2 in, stainless) |  | 16 | 0.08 | 1.28 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3391/91772A148
|  | phillips pan head screw (8-32, 1/2 in, stainless) |  | 8 | 0.16 | 1.28 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3392/91735A194
|  | phillips pan head screw (8-32, 1 1/2 in, stainless) |  | 4 | 0.23 | 0.92 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3392/91735A165
|  | nut (8-32, stainless) |  | 12 | 0.05 | 0.6 | McMaster-Carr | https://www.mcmaster.com/products/nuts/18-8-stainless-steel-hex-nuts-10/?s=8-32+stainless+steel+nut
|  | washer (#8, stainless) |  | 12 | 0.05 | 0.6 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3618/90107A010
Computer control hardware
|  | data acquisition chassis DAQ (cDAQ-9174) |  | 1 | 1501 | 1501 | National Instruments | https://www.ni.com/en-us/shop/hardware/products/compactdaq-chassis.html
|  | voltage output module (NI-9263) |  | 1 | 798 | 798 | National Instruments | https://www.ni.com/en-us/shop/hardware/products/c-series-voltage-output-module.html?modelId=122200
|  | relay output module (NI-9485) |  | 1 | 676 | 676 | National Instruments | https://www.ni.com/en-us/shop/hardware/products/c-series-relay-output-module.html?modelId=122231
|  | cable (18 awg, 5 conductor, 1 ft) |  | 8 | 1.68 | 13.44 | Show Me Cables | https://www.showmecables.com/18-awg-5-conductor-600v-stranded-conductor-unshielded-vntc-tray-cable-per-foot?utm_campaign=PMax:_(ROI)_Smart_Shopping_-_Bulk_Wire_&_Cable&keyword=&gclid=CjwKCAjwgZCoBhBnEiwAz35Rwj_TsxjDmoEluve5GZgS0ULDR88tKSXliDGvicVgvG0-2DGCFhHYAxoChloQAvD_BwE
Fluid routing
|  | set of 3D printed tubing guides* |  | 1 | 2.78 | 2.78 | Formlabs
|  | threaded insert (6-32, 1/4 in, brass) |  | 6 | 0.28 | 1.68 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3724/92395A113
|  | phillips pan head screw (6-32, 1/2 in, stainless) |  | 6 | 0.08 | 0.48 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3391/91772A148
|  | Supelco flangeless fitting (1/8 in) |  | 3 | 3.85 | 11.55 | Cole Parmer | https://www.coleparmer.com/i/idex-flangeless-fitting-standard-knurl-natural-pp-1-8-od-tubing-1-4-28-flat-bottom-1-ea/0202097?PubID=UX&persist=true&ip=no&gclid=CjwKCAjw9pGjBhB-EiwAa5jl3BWj_T8gnUAAPCXXkVvPZGOkM475gUCiQIFHluKqCcLmV6EaVtHriRoCyREQAvD_BwE
|  | straight barbed reducer (1/4 to 1/8 in ID) |  | 4 | 0.85 | 3.4 | Qosina | https://www.qosina.com/straight-reducer-connector-barbed-natural-hsr84
|  | Tygon tubing (1/8 in OD, 1 ft) |  | 12 | 0.32 | 3.84 | McMaster-Carr | https://www.mcmaster.com/6516T11/
|  | black airline tubing (1 ft) |  | 30 | 0.17 | 5.1 | Fish Tanks Direct | https://fishtanksdirect.com/lees-sleek-black-airline-tubing-500-spool/?sku=LEE14665&gclid=CjwKCAjwu4WoBhBkEiwAojNdXg5SPohSepQxpWmIvZitbrt2emtN5mR1UMfVMTsFWlZ_nCR_Fw0avRoC8-EQAvD_BwE
|  | expandable Sleeving (1/4 in, 1 ft) |  | 10 | 0.23 | 2.3 | McMaster-Carr | https://www.mcmaster.com/catalog/129/984/9284K612
End effector
|  | 3D printed end effector (Nylon 12 powder)* |  | 1 | 4.2 | 4.2 | Formlabs
|  | end effector bolt (M6 16mm, stainless) |  | 5 | 0.67 | 3.35 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3394/90116A311
|  | female Luer lock to panel mount with barb (1/16 ID) |  | 1 | 0.54 | 0.54 | Qosina | https://www.qosina.com/female-luer-lock-to-panel-mount-with-barb-natural-pmlf21
|  | female Luer lock to panel mount with barb (1/8 ID) |  | 2 | 0.52 | 1.04 | Qosina | https://www.qosina.com/female-luer-lock-to-panel-mount-with-barb-natural-pmlf41
|  | male to male Luer lock connector |  | 3 | 0.18 | 0.54 | Qosina | https://www.qosina.com/male-to-male-luer-lock-connector-12090
|  | straight dispensing tip (25 G) |  | 1 | 0.76 | 0.76 | Qosina | https://www.qosina.com/female-luer-lock-straight-dispensing-tip-red-violet-11079
|  | straight dispensing tip (14 G) |  | 1 | 0.76 | 0.76 | Qosina | https://www.qosina.com/female-luer-lock-straight-dispensing-tip-white-11074
|  | straight dispensing tip (16 G) |  | 1 | 0.76 | 0.76 | Qosina | https://www.qosina.com/female-luer-lock-straight-dispensing-tip-smoky-black-11075
Stir system
Sample containment and positioning
|  | custom beaker holder (1/4 in acrylic)* |  | 1 | 20 | 20
|  | treatment application snorkel* |  | 16 | 0.95 | 15.2 | Formlabs
|  | glass beaker (600 mL) |  | 16 | 17.4 | 278.4 | Sigma-Aldrich | https://www.sigmaaldrich.com/US/en/product/aldrich/br91248
|  | stir bar (25 mm) |  | 16 | 2 | 32 | Amazon
|  | custom sample stand (1/4 in acrylic)* |  | 1 | 20 | 20
|  | bolt (1/4-20, 1 in, nylon) |  | 2 | 0.23 | 0.46 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3544/91244A540
|  | wingnut (1/4-20, nylon) |  | 2 | 0.29 | 0.58 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3606/94924A600
Stir plate
|  | custom stir motor holder (1/4 in acrylic)* |  | 1 | 20 | 20
|  | 3D printed fan holders (Nylon 12 powder)* |  | 16 | 0.8 | 12.8 | Formlabs
|  | 3D printed magnet holders (Nylon 12 powder)* |  | 16 | 0.46 | 7.36 | Formlabs
|  | fan motor (12 v) |  | 16 | 5.09 | 81.44 | Digi-Key | https://www.digikey.com/en/products/detail/sunon-fans/4149%2FEF80251S1-1000U-A99/9838586?utm_adgroup=DC%20Fans&utm_source=google&utm_medium=cpc&utm_campaign=Shopping_Product_Fans%2C%20Thermal%20Management_NEW&utm_term=&utm_content=DC%20Fans&gclid=Cj0KCQjwyLGjBhDKARIsAFRNgW9r2wfYJYZu2gxMeGimJ6ngaiKILruICNb3GkcSZB4I9ZjwRGyo71EaAq6XEALw_wcB
|  | phillips pan head screw (4-40, 5/8 in, stainless) |  | 32 | 0.12 | 3.84 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3392/91735A109
|  | nut (4-40, stainless) |  | 32 | 0.06 | 1.92 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3582/90257A005
|  | washer (#4, stainless) |  | 32 | 0.03 | 0.96 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3618/90107A005
|  | bolt (1/4-20, 1 in, stainless) |  | 4 | 0.31 | 1.24 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3535/93190A542
|  | magnet (3/8 in diam, 1/8 in thick) |  | 32 | 0.47 | 15.04 | Grainger | https://www.grainger.com/product/STORCH-PRODUCTS-Disc-Magnet-Neodymium-35KC06?searchQuery=b002-2175-035n&redirect=B002-2175-035N&searchRedirect=B002-2175-035N&tier=Not+Applicable
|  | epoxy |  | 1 | 29.4 | 29.4 | Grainger | https://www.grainger.com/category/adhesives-sealants-and-tape/adhesives-glues/load-bearing-structural-adhesives/epoxy-structural-adhesives?searchQuery=loctite+epoxy&redirect=loctite+epoxy&searchRedirect=loctite+epoxy&categoryIndex=1
|  | acrylic glue (thin) |  | 1 | 11.82 | 11.82 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3862/7517A1
|  | wire (22 AWG) |  | 4 | 28.8 | 115.2 | Grainger | https://www.grainger.com/product/CAROL-Hookup-Wire-22-AWG-Wire-Size-5ZDF3
Stir controller
|  | 3D printed stir controller housing (Nylon 12 powder)* |  | 1 | 23.31 | 23.31 | Formlabs
|  | acrylic window for stir controller box (1/4 in acrylic)* |  | 2 | 0.5 | 1
|  | phillips pan head screw (2-56, 3/16 in, stainless) |  | 16 | 0.09 | 1.44 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3392/91735A007
|  | OLED display (128x64, 0.96") |  | 2 | 4.12 | 8.24 | Digi-Key | https://www.digikey.com/en/products/detail/universal-solder-electronics-ltd/OLED%2520128X64%25200.96%2522%2520I2C/16822116?utm_adgroup=&utm_source=google&utm_medium=cpc&utm_campaign=PMax%20Shopping_Product_Medium%20ROAS%20Categories&utm_term=&utm_content=&gclid=EAIaIQobChMI0uij9NqsgQMVElFyCh2ebwRDEAQYAiABEgKXXfD_BwE
|  | threaded insert (2-56, brass) |  | 16 | 0.25 | 4 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3724/92395A111
|  | custom PCB* |  | 2 | 2.02 | 4.04 | Seeed | https://www.seeedstudio.com/fusion_pcb.html
|  | cable gland (3/8 in) |  | 4 | 3.03 | 12.12 | Grainger | https://www.grainger.com/product/HUBBELL-WIRING-DEVICE-KELLEMS-Liquid-Tight-Cord-Connector-2DPE2
|  | cable gland (3/4 in) |  | 2 | 6.4 | 12.8 | McMaster-Carr | https://www.mcmaster.com/catalog/129/1012/69915K55
|  | microcontroller (Teensy 3.5) |  | 2 | 26.5 | 53 | Digi-Key | https://www.digikey.com/en/products/detail/sparkfun-electronics/DEV-14055/6235191
|  | ir sensor (TSOP38238) |  | 2 | 0.88 | 1.76 | Digi-Key | https://www.digikey.com/en/products/detail/vishay-semiconductor-opto-division/tsop38238/1681362
|  | ir remote |  | 1 | 4.95 | 4.95 | Digi-Key | https://www.digikey.com/en/products/detail/adafruit-industries-llc/389/8323982
|  | mosfet (N-channel, IRLB8721PBF) |  | 16 | 0.79 | 12.64 | Digi-Key | https://www.digikey.com/en/products/detail/infineon-technologies/irlb8721pbf/2127670
|  | voltage regulator (5 v, 1.2 A) |  | 2 | 0.79 | 1.58 | Digi-Key | https://www.digikey.com/en/products/detail/umw/l7805cv/17635308
|  | Molex KK connector (2 pin male) |  | 4 | 0.359 | 1.436 | Digi-Key | digikey.com/en/products/detail/molex/0022112022/172024
|  | Molex KK connector (2 pin female) |  | 4 | 0.093 | 0.372 | Digi-Key | https://www.digikey.com/en/products/detail/molex/0022012027/171991
|  | Molex KK connector (3 pin male) |  | 2 | 0.368 | 0.736 | Digi-Key | https://www.digikey.com/en/products/detail/molex/0022272031/1130578
|  | Molex KK connector (3 pin female) |  | 2 | 0.015 | 0.03 | Digi-Key | https://www.digikey.com/en/products/detail/molex/0022013037/26433
|  | Molex KK connector (4 pin male) |  | 2 | 0.281 | 0.562 | Digi-Key | https://www.digikey.com/en/products/detail/molex/0022232041/26671
|  | Molex KK connector (4 pin female) |  | 2 | 0.218 | 0.436 | Digi-Key | https://www.digikey.com/en/products/detail/molex/0022012041/1090455
|  | DuPont connector (3x1) |  | 2 | 0.154 | 0.308 | Digi-Key | https://www.digikey.com/en/products/detail/harwin-inc/M20-1060300/3728192?s=N4IgTCBcDaILJgAwFoCMiBsiDMjEgF0BfIA
|  | DuPont connector (4x1) |  | 2 | 0.222 | 0.444 | Digi-Key | https://www.digikey.com/en/products/detail/harwin-inc/M20-1060400/3728193?s=N4IgTCBcDaILJgAwFoCMiBsiAsjEgF0BfIA
|  | power supply (12 v, 5 A) |  | 1 | 9.37 | 9.37 | Digi-Key | https://www.digikey.com/en/products/detail/tri-mag-llc/L6R24-120/7682639
|  | momentary push button |  | 2 | 3.25 | 6.5 | Digi-Key | https://www.digikey.com/en/products/detail/e-switch/rp3502mablk/280450
|  | screw terminal (0.2 in pitch, 2 position) |  | 16 | 1.08 | 17.28 | Digi-Key | https://www.digikey.com/en/products/detail/phoenix-contact/1729128/260615
|  | resistor (10k Ω) |  | 16 | 0.0354 | 0.5664 | Digi-Key | https://www.digikey.com/en/products/detail/stackpole-electronics-inc/RNF14FTD10K0/1706596?s=N4IgTCBcDaIEoDkBiBGALEgKgERQBgGk8BhTAWgWxAF0BfIA
|  | resistor (3.3k Ω) |  | 2 | 0.1 | 0.2 | Digi-Key | https://www.digikey.com/en/products/detail/stackpole-electronics-inc/CF14JT3K30/1741376
|  | diode (1N4004) |  | 16 | 0.098 | 1.568 | Digi-Key | digikey.com/en/products/detail/diodes-incorporated/1N4004-T/604
Watchdog
|  | 3D printed housing (Nylon 12 powder)* |  | 1 | 2.93 | 2.93 | Formlabs
|  | cellular-enabled microcontroller (Boron, Particle.io) |  | 1 | 65.31 | 65.31 | Particle.io | https://store.particle.io/collections/boron-lte/products/boron-lte-cat-m1-noram-with-ethersim-4th-gen
|  | threaded insert (2-56, brass) |  | 4 | 0.25 | 1 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3724/92395A111
|  | phillips pan head screw (2-56, 3/16 in, stainless) |  | 4 | 0.09 | 0.36 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3392/91735A007
|  | phillips pan head screw (2-56, 3/8 in, stainless) |  | 4 | 0.09 | 0.36 | McMaster-Carr | https://www.mcmaster.com/catalog/129/3392/91735A017
|  | SUM |  |  |  | 16895.6184